[image: image1.png]


 

Figure 1. Structural formula of thiacloprid 

[image: image2.png]


  
Figure 2. Sample extraction and clean-up procedure 

[image: image3.png]92,4 Ref=300.100 (010820153051-0501.0)
mau
120

120

100

o

@

Y

1817
1360




 (a) 
[image: image4.png]rens

osz:

eanz

vest

ass0

mau



 (b) 
Figure 3. Chromatogram of the control sample (a) and matrix fortified with thiacloprid (b)

[image: image5.png]mau

s

18

128

0

75

25

DAD1 A, Sig=252.4 Ref=360.100 (010920151052-0601.D)

1811

208

2608

678

ag1a




 

Figure 4. Chromatogram of paprika sample spiked with thiacloprid, 1.0 mg/kg 

Table 1. Residues of thiacloprid in paprika fruits 

	Interval/days
	Thiacloprid 
mg/kg
	Loss 

% 
	Persistence 

% 

	Initial
	1.136 
	0.00
	100.00

	2
	0.321 
	71.74 
	28.26 

	3
	0.314 
	72.37 
	27.63 

	4
	0.276 
	75.70 
	24.30 

	5
	0.277 
	75.58
	24.42 

	6
	0.282
	75.16
	24.84 

	7
	0.198 
	82.58
	17.42 

	10 
	0.184 
	83.80
	16.20 


Table 2. The half-life (DT50) of thiacloprid dissipation

	Analyte 
	Model 
	Dynamic equation 
	R2
	DT50 

	Thiacloprid 
	First-order model 
	y=0.620e-0.14x 
	R²=0.682 
	4.95 


